## Slide 1: Biomedical Engineering
Urs Utzinger
2018, 2019 Summer Engineering Academy
University of Arizona , College of Engineering

## Slide 2: Demo
Walgreens - $45
Instant Heart Rate
Mobile App - free

## Slide 3: Medical Relevance
How do we adjust to an increase in fuel and oxygen demand?

## Slide 4
https://www.thinglink.com/scene/792075535718023169
Motor: RPM
Heart: BPM

## Slide 5: Where does the Supply go?
Notes: We will have quite a bit of flow to the skin

## Slide 6: What Signals can you measure?
Notes: Wigger’s Diagram: Pressure, Volume, Electric, Sound

## Slide 7: Photoplethysmography: PPG
Pressure in Arterial Tree
Notes: https://en.wikipedia.org/wiki/Photoplethysmogram

## Slide 8: How does PPG work?

## Slide 9: Photo Plethysmo Gram
Light
Source
Light
Detector
Light
Source
Light
Detector
Transmission
Reflection

## Slide 10
Notes: How does signal look like?

## Slide 12
2018: $300
2018: $2600 + $20
Notes: Top of Line Masimo Product.
Finger sensor hooks to phone via bloottooth
It measures respiration, perfusion in addition to oxygenation and heartrate
RRp respirator rate
PVI perfusion variability index
PI perfusion index

## Slide 13: How is the Amount of Oxygen in the Blood measured?

## Slide 15: Mobile Health Sensor
Smart Phone has a
Light Sensor (light intensity, to adjust display intensity)
Proximity Sensor (light intensity)
Activity Sensor (accelerometer: falling down, in pocket, portrait)
Smart Watch has
Heart Beat Sensor (green light)
Blood Oxygenation Sensor (red and near infrared light)
Notes: Fully integrated sensor

## Slide 16: Maxim: MAX30105
2019:
US: $4.75 @ digikey
2019:
US: $14
Banggood: $1.48

## Slide 18: Lets build our own

## Slide 19: Materials & Tools
MATERIALS
ESP8266 [$3.90]
Pulse Sensor MAX30100 [$4.65]
Jumper Wire (4) [$0.16]
Solderless Protoboard [$1.50]
Micro USB Cable [$0.75]
Total: [$12 ,1-2 months for delivery of parts from China]

## Slide 21: ESP8266 Wemos D1 Mini

## Slide 22: 128x32 OLED Display

## Slide 23: MAX 30100 Pulse Oximeter Sensor

## Slide 24: Circuit Wiring
D1 ESP Microcontroller | OLED 128x32 Display | MAX3010x Sensor
3.3V | VCC | Vin
G | GND | GND
D1 | SCL | SCL
D2 | SDA | SDA
Make these connections.
Do NOT power up!!

## Slide 25: Please have your circuit checked by a mentor/counselor before you continue

## Slide 26: Check installed software
Type in the command window
Python
Git

## Slide 27: If you don’t have python

## Slide 28: If you don’t have Python: Download it

## Slide 29: Install Python

## Slide 30: If you don’t have git

## Slide 31: ESP8266 in Arduino: Hardware Driver
https://github.com/esp8266/Arduino
If you don’t have git:
Download the Hardware Driver as zip
Otherwise follow instruction for git in readme file

## Slide 32: If you don’t have git: Extracting to:
C:\Users\your_user_name_goes_here\Documents\Arduino\hardware\esp8266com

## Slide 33: If you have git

## Slide 34: Execute text within “ “
“cd C:/users/your username/Documents/Arduino”
“ls” for list
  If hardware does not exist “mkdir hardware”
“cd hardware”
“mkdir esp8266com”
“cd esp8266com”
“git clone https://github.com/esp8266/Arduino.git esp8266”
“cd esp8266”
“git submodule update –init”

## Slide 35: Finish Installation
Open Windows CMD shell
Execute:
“cd esp8266/tools”
“python get.py”

## Slide 36: Installing Libraries in Arduino for Display
We need:
Adafruit GFX Library
Adafruit SSD1306

## Slide 37: Configure Arduino for ESP8233
2) select correct port once ESP module is attached with USB cable
1) Select ESP8233 board

## Slide 38: Are the devices connected?
https://github.com/RobTillaart/Arduino/tree/master/sketches/MultiSpeedI2CScanner
Download and save to Documents/Arduino
Compile and Execute and the program should find two I2C devices, one is the display, the other the sensor

## Slide 39: Check display

## Slide 40: Now get my example code
https://github.com/uutzinger/sea

## Slide 44: Software
Arduino IDE
Processing Graphical Display
Github

## Slide 45: Arduino IDE
Find Arduino Integrated Development Environment on your Desktop Computer
Open the Blink Example
Connect the Arduino Nano to Computer
Select Proper Microcontroller and Port

## Slide 46: MAX3010x Driver and Example
Github
  Dowload Dirver and Example Program: https://github.com/uutzinger/MAX30105
There is Clone/Download button. Do not use desktop app.
Place the downloaded archive on desktop and unpack it.
Rename the folder to MAX30105
Load MAX30105 into Arduino and upload to microcontroller

## Slide 47: Check Communication with Arduino Nano
Open Tools / Serial Monitor
Set speed to 115200 at bottom right.
You should see lines of numbers on the screen

## Slide 48: Processing

## Slide 49
Open the rolling graph application by double clicking on it in processing folder of MAX30105
A new program starts
Make sure that the serial port named in the program matches the one you used for programming the Arduino nano e.g. COM3 or COM4 or COM5
If the program shows an error when opening the COM port

## Slide 52: What is in an Arduino Program (C++)
#define
#include
global variables
setup
loop
subroutines
control statements:
  for loop
  if statement

## Slide 53: Serial Communication